## Slide 1: Pharmacodynamic assessment for the PK/PD approach in antimicrobial therapy
Aude Ferran
May 2022

## Slide 2: Indicators of the effect of antibiotics on bacteria
In vitro
  MIC, MBC
  Rate of bacterial killing
  Extent of the reduction of the inoculum
In vivo
  Clinical outcomes: bacteremia, hyperthermia, leukocytosis, survival/death,...

## Slide 3
PD assessment
by MIC and MBC determination

## Slide 4
MIC
  Definition
  MIC and inhibition diameter
  MIC for antibiotic combinations
MBC
Classification of bacteriostatic vs bactericidal drug

## Slide 5
MIC = Minimum Inhibitory Concentration: smallest concentration of antibiotic that inhibits visible growth of a bacterial strain after 18 -24 hours of culture at 35-37°C.
=> Characterizes the bacteriostatic effect of an antibiotic
MBC = Minimal Bactericidal Concentration = lowest concentration of antibiotic leaving only 0.01% or less survivors of the initial inoculum after 18-24 hours of culture at 35-37°C.
=> Characterizes the bactericidal effect of an antibiotic
MIC and MBC
Workload MBC >>>MIC

## Slide 6
According to
Vincent Jarlier
IUD Mal Inf
Starting inoculum = 5.105 to106 Colony Forming Units per milliliter (CFU/mL)

## Slide 7
According to
Vincent Jarlier
IUD Mal Inf
MIC = 2 mg/L

## Slide 8
Regression line between MIC and diameter of diffusion
45
35
25
15
5
Exemple : Penicilline G
MIC(µg / ml)
Diameters (mm)
MIC varying 1 to 4-fold for the same diameter
Remark : MIC and disk diffusion

## Slide 9
Resistant
Intermediare
Susceptible
45
35
25
15
5
MIC (µg / ml)
Diameters (mm)
Major mistake
MIC and disk diffusion

## Slide 10
MIC for combinations
Checkerboard assays
+
Antibiotic A
0
0
Antibiotic B
MIC B alone
MIC B when combined to A
MIC A alone
MIC A
when combined to B
Fractional Inhibitory Combination Index =
Here, FICI = 0.5 + 0.5 = 1

## Slide 11
MIC for combinations
Checkerboard assays
If FICI< 0.5 => synergy
If FICI > 0.5 and <= 2 =>indifference
If FICI > or = 4 => antagonism

## Slide 12
MBC
The MBC is the lowest concentrations allowing a decrease of 3 log10 CFU/mL
The counts of bacteria at the end is unavoidable!
Two methods depending on the reliability of the initial inoculum
Method #1 with reliable inoculum of 5.105 CFU/mL
Method #2 with unreliable inoculum

## Slide 13
MBC
Method #1
From MIC wells or tubes, after overnight incubation, plate one drop of 5 -10 µL of each tube on nutritive agar, let it dry and incubate overnight at 35-37°C
If there are five colonies on the spot of 10 µL
there were 5 bacteria/10 µL in the well/tube = 500 bacteria/mL
If the inoculum for MIC of 5.105 CFU/mL was reliable, it means that a reduction of more than 3 log10 was reached => bactericidal activity.
The MBC corresponds to the lowest concentration with no more than five colonies in 10 µL (if the initial incoulum is reliable !)

## Slide 14
MBC
Method #2
- Count precisely bacteria before and after MIC determination by performing serial 10-fold dilutions of the bacterial suspensions and by plating them (see next slides)
- Then, compare the counts before and after antibiotic exposure and determine the lowest concentration allawing a 3log10 reduction = MBC

## Slide 15
Serial ten-fold dilutions of the suspensions before and after MIC determination
From these wells, you can spread 100µL of each dilution on one agar plate per dilution.
It is very fastidious and poorly reproducible between operators!

## Slide 16
Dilution factor
100
10-1
10-3
10-2
10-4
10-5
= (4+3+4)/3
= mean of the spots with from 1 to 15 colonies
dilution factor
multiplication to have results in /mL instead of /10µL
*
*
* 103
* 102
= 3.7.105 CFU/mL
Spots of 10 µL each
Bacterial colony
Spots of the different dilutions from the 96-well plates on the agar and reading after incubation

## Slide 17
ATB bactericidal or bacteriostatic
Bacteriostatic antibiotic: when MBC >> MIC
Bactericidal antibiotic: when MBC ~ MIC
Important remark !
A bacteriostatic antibiotic can have a bactericidal effect when C>> MIC
A bactericidal antibiotic can have a bacteriostatic effect when C ~ MIC

## Slide 18
PD assessment
by Time-Kill Curves (TKC)

## Slide 19: Time-kill curves
Methods :
0
0.5 MIC
1 MIC
2 MIC
4 MIC
8 MIC
Tubes incubated at 35-37°C (depending on the strain)
Prepare inoculum (One or two hours without drug)
Add the drug
Take care of oxygenation
  Agitation
  Volume of liquid
  Ventilated cap
Serial samplings of the same tube (100 µL is enough for bacterial counts)
Removal from incubator for samplings must be short

## Slide 20
Serial ten-fold dilutions of the sample
Remark : if there are too many bacteria >107-8 CFU/mL, 10-fold dilutions in microwells will fail because bacteria remain stuck to the tips
Solution: make a pre-dilution in a larger volume before the microdilutions
Eg : 10 µL of the sample in 990 µl NaCl 0.9% or PBS

## Slide 21
Dilution factor
100
10-1
10-3
10-2
10-4
10-5
= (4+3+4)/3
= mean of the spots with from 1 to 15 colonies
dilution factor
multiplication to have results in /mL instead of /10µL
*
*
* 103
* 102
= 3.7.105 CFU/mL
Spots of 10 µL each
Bacterial colony
Spots of the different dilution from the 96-well plates to the agar

## Slide 22: Time-kill curves
Prevention of drug carry-over on agar:
Washing of the samples
  Centrifugation = 3000 g for 10 min (T° depends on the bacteria)
  Removal of the supernatant (be careful of the remaining volume)
  Addition of the same volume of NaCl 0.9% or PBS
  vortex
Plates with active charcoal and/or cations
  Efficacy depends on the drug

## Slide 23
Allows the detection of bacterial inoculum decay/re-growth phases as a function of time and antibiotic concentrations
CFU/ml
latency
phase of
bactericidal activity
phase of
regrowth
0
2
6
time (h)
Time-kill curves
Conc 1
Conc 2
24

## Slide 24
Early phase: 0.5 h to 6-8 h
  informs about the mode of action of the antibiotic, by the temporal dynamics of the bacterial killing
Late phase: > 6-8 h
  bacterial regrowth
    degradation of the antibiotic
    adaptive tolerance
    selection of resistant mutants
    ...
Time-kill curves

## Slide 25: Time-kill curves
Low inoculum
0
5
10
15
20
1010
108
106
104
102
Medium inoculum
0
5
10
15
20
Time (h)
Time (h)
High inoculum
0
5
10
15
20
1010
108
106
104
102
Bacteria (CFU/mL)
0
0.5x MIC
1x
2x
4x
8x
16x
32x
How to quantify the influence of inoculum size?
Timr (h)

## Slide 26
Quantification of bacterial killing
No « official » methods, no consensus
Both the speed of effect and the global/total effect can be considered (depending on the mode of action of the ATB)
Calculation of the initial rate of bacterial killing
Calculation of the killing effect over time (hybrid result between rate and killing activity = how many? How fast?)

## Slide 27
Surviving bacteria
Time
Rate of bacterial killing
Rate of killing = initial slope
No « official » methods, no consensus
Rate of killing can be calculated between 0-1 h, 0-3h, 0-6h,….
Expressed in (log CFU/mL)/h

## Slide 28
Low inoculum
0
5
10
15
20
1010
108
106
104
102
Medium inoculum
0
5
10
15
20
Time (h)
Time (h)
High inoculum
0
5
10
15
20
1010
108
106
104
102
Bacteria (CFU/mL)
0
0.5x MIC
1x
2x
4x
8x
16x
32x
Calculation of the initial killing rates
Timr (h)

## Slide 29
Surviving bacteria
Time
Rate of bacterial killing
Rate of killing = initial slope
-2
-1
0
1
2
3
4
5
6
7
0.001
0.01
0.1
marbofloxacin
(µg/mL)
Bactericidal rate
([log CFU/mL]/h)
Low inoculum
High inoculum
Medium inoculum

## Slide 30
Surviving bacteria
Surviving bacteria
Time
6 h
Time
6 h
Rate of bacterial killing
30
Concentration dependent
(and time dependent)
(Non concentration dependent)
that are time-dependent

## Slide 31: Classification of antibiotics
Concentration-dependent antibiotics
  their bactericidal rate increases with the concentration of the antibiotic
Time-dependent antibiotics
(also called non concentration-independent)
  as soon as they are bactericidal, the time-dependents act at their maximum speed (which is slow)

## Slide 32: Classification of antibiotics
Concentration-dependent antibiotics
  Aminosides
  Quinolones (except on some gram-positive)
Time-dependent antibiotics
(also called non concentration-independent)
  Beta-lactams (except on some gram-negative)
  Cephalosporins
  Macrolides
  Tetracyclines

## Slide 33
Quantification of bacterial killing
The easiest way to summarize an effect over time is the calculation of the Area Under the Curve
Each curve will be summarized by one number (in log(CFU/mL)xh)
How to calculate AUC?
AUC[0-8] with drug
=ATB
AUC [0-8] without drug
=control
log CFU/mL
Time
8 h

## Slide 34
Quantification of bacterial killing
log CFU/mL
How to calculate AUC?
0
1
4
8
24
Count 0
Count 1
Count 4
Count 8
Count 24
Time
Average log count between 0 and 1h

## Slide 35
Quantification of bacterial killing
Effect = decrease of average inoculum size
No « official » methods, no consensus
AUC can be calculated over 8, 24, 48h,….
Several calculations can be proposed from AUC
AUC[0-8] with drug
=ATB
AUC [0-8] without drug
=control
log CFU/mL
Time
8 h

## Slide 36
Quantification of bacterial killing
No « official » methods, no consensus
AUC can be calculated over 8, 24, 48h,….
Several calculations can be proposed from AUC
AUC[0-8] with drug
=ATB
AUC [0-8] without drug
=control
log CFU/mL
Time
8 h

## Slide 37
Low inoculum
0
5
10
15
20
1010
108
106
104
102
Medium inoculum
0
5
10
15
20
Time (h)
Time (h)
High inoculum
0
5
10
15
20
1010
108
106
104
102
Bacteria (CFU/mL)
0
0.5x MIC
1x
2x
4x
8x
16x
32x
Calculation of the global effect
Timr (h)

## Slide 38
Quantification of bacterial killing
Low inoculum
High inoculum
Medium inoculum
0%
20%
40%
60%
80%
100%
0.001
0.01
0.1
marbofloxacin (µg/mL)
Bactericidal effect (%)
AUC[0-8] with drug
=ATB
AUC [0-8] without drug
=control
log CFU/mL
Time
8 h

## Slide 39: Time-kill curves
Main factors that can influence the shape of the curve (~the activity of the drug)
  Exponential growth or latency
  Growth rate (depends on conditions and nutrients)
  Inoculum size

## Slide 40: Time-kill curves
0.001
0.01
0.1
1
Marbofloxacin (µg/mL)
Bactericidal rate (log CFU/h)
6
5
4
6
3
2
1
0
-1
-2
Exponential growth
Latency
Latency
0
5
10
15
20
25
Time (h)
108
104
102
106
1010
0
0.5 MIC
1
2
4
8
16
32
CFU/mL
Exponential growth
0
5
10
15
20
25
Time (h)
108
104
102
106
1010
Influence of the growth rate on the bactericidal rate

## Slide 41
PK/PD approach
Modelling

## Slide 42
PK/PD indices
PD
PK
Plasma concentrations
Time
AUC
Cmax
T>Conc
summarize by
summarize by MIC
One value for the PK/PD indice
Comparison to the targeted value predicting efficacy

## Slide 43
PD
PK
Plasma concentrations
Time
Concentrations over time are described by differential equations
Bacterial counts
time
The evolution of bacterial counts over time is also described by equation

## Slide 44
PK/PD approach
In vitro dynamic systems

## Slide 45: Static vs dynamic systems
concentrations
time
TKC
Representative of infusions?
MIC
time
concentrations

## Slide 46: Dynamic systems
Simulation of the concentration profiles (PK ) over several days
time
concentrations
Bacterial counts over time by serial samplings

## Slide 47
PK/PD approach
In vitro dynamic systems
Magnetic stirrer
waste
broth + bacteria+ antibiotic
broth
pump
37°C
Water bath
samples
Thermostat
« Opened » systems

## Slide 48
PK/PD approach
In vitro dynamic systems
Simultaneous simulation of the PK and observation of bacterial counts (PD)
drug
Extracapillary
space
Hollow Fiber suface
Drug
in/out
bacteria
retained in the cartridge

## Slide 49
Tested conditions
Ciprofloxacin
Simulation of 400 mg q12h for 3 days
Cmax= 1.5 µg/mL
T1/2 = 4h
Bacteria
P. aeruginosa PAK
Extracapillary
space
Hollow Fiber suface
Ciprofloxacin ( )
in/out
Hollow Fiber Infection Model
Ciprofloxacin
= systemic admin
Cartdrige
ref

## Slide 50
Total bacteria
Bacteria with lower susceptibility to ciprofloxacin
Legend
Selection of mutants resistant to ciprofloxacin
Ciprofloxacin administrations